## Remote control
Nnm | Description | Point Num | Description | Point Num
1 | [inverter 1]ON/OFF | 24577 | broadcast ON/OFF | 24637
2 | [inverter 2]ON/OFF | 24578
3 | [inverter 3]ON/OFF | 24579
4 | [inverter 4]ON/OFF | 24580
5 | [inverter 5]ON/OFF | 24581
6 | [inverter 6]ON/OFF | 24582
7 | [inverter 7]ON/OFF | 24583
8 | [inverter 8]ON/OFF | 24584
9 | [inverter 9]ON/OFF | 24585
10 | [inverter 10]ON/OFF | 24586
11 | [inverter 11]ON/OFF | 24587
12 | [inverter 12]ON/OFF | 24588
13 | [inverter 13]ON/OFF | 24589
14 | [inverter 14]ON/OFF | 24590
15 | [inverter 15]ON/OFF | 24591
16 | [inverter 16]ON/OFF | 24592
17 | [inverter 17]ON/OFF | 24593
18 | [inverter 18]ON/OFF | 24594
19 | [inverter 19]ON/OFF | 24595
20 | [inverter 20]ON/OFF | 24596
21 | [inverter 21]ON/OFF | 24597
22 | [inverter 22]ON/OFF | 24598
23 | [inverter 23]ON/OFF | 24599
24 | [inverter 24]ON/OFF | 24600
25 | [inverter 25]ON/OFF | 24601
26 | [inverter 26]ON/OFF | 24602
27 | [inverter 27]ON/OFF | 24603
28 | [inverter 28]ON/OFF | 24604
29 | [inverter 29]ON/OFF | 24605
30 | [inverter 30]ON/OFF | 24606
31 | [inverter 31]ON/OFF | 24607
32 | [inverter 32]ON/OFF | 24608
33 | [inverter 33]ON/OFF | 24609
34 | [inverter 34]ON/OFF | 24610
35 | [inverter 35]ON/OFF | 24611
36 | [inverter 36]ON/OFF | 24612
37 | [inverter 37]ON/OFF | 24613
38 | [inverter 38]ON/OFF | 24614
39 | [inverter 39]ON/OFF | 24615
40 | [inverter 40]ON/OFF | 24616
41 | [inverter 41]ON/OFF | 24617
42 | [inverter 42]ON/OFF | 24618
43 | [inverter 43]ON/OFF | 24619
44 | [inverter 44]ON/OFF | 24620
45 | [inverter 45]ON/OFF | 24621
46 | [inverter 46]ON/OFF | 24622
47 | [inverter 47]ON/OFF | 24623
48 | [inverter 48]ON/OFF | 24624
49 | [inverter 49]ON/OFF | 24625
50 | [inverter 50]ON/OFF | 24626
51 | [inverter 51]ON/OFF | 24627
52 | [inverter 52]ON/OFF | 24628
53 | [inverter 53]ON/OFF | 24629
54 | [inverter 54]ON/OFF | 24630
55 | [inverter 55]ON/OFF | 24631
56 | [inverter 56]ON/OFF | 24632
57 | [inverter 57]ON/OFF | 24633
58 | [inverter 58]ON/OFF | 24634
59 | [inverter 59]ON/OFF | 24635
60 | [inverter 60]ON/OFF | 24636

## Remote adjustment
Num | English Description | Point Num | Description | Point Num
1 | [inverter 1]Active Power | 25089 | Broadcast Active Power | 25209
3 | [inverter 1]Reactive Power | 25090 | Broadcast Reactive Power | 25210
4 | [inverter 2]Active Power | 25091
5 | [inverter 2]Reactive Power | 25092
6 | [inverter 3]Active Power | 25093
7 | [inverter 3]Reactive Power | 25094
8 | [inverter 4]Active Power | 25095
9 | [inverter 4]Reactive Power | 25096
10 | [inverter 5]Active Power | 25097
11 | [inverter 5]Reactive Power | 25098
12 | [inverter 6]Active Power | 25099
13 | [inverter 6]Reactive Power | 25100
14 | [inverter 7]Active Power | 25101
15 | [inverter 7]Reactive Power | 25102
16 | [inverter 8]Active Power | 25103
17 | [inverter 8]Reactive Power | 25104
18 | [inverter 9]Active Power | 25105
19 | [inverter 9]Reactive Power | 25106
20 | [inverter 10]Active Power | 25107
21 | [inverter 10]Reactive Power | 25108
22 | [inverter 11]Active Power | 25109
23 | [inverter 11]Reactive Power | 25110
24 | [inverter 12]Active Power | 25111
25 | [inverter 12]Reactive Power | 25112
26 | [inverter 13]Active Power | 25113
27 | [inverter 13]Reactive Power | 25114
28 | [inverter 14]Active Power | 25115
29 | [inverter 14]Reactive Power | 25116
30 | [inverter 15]Active Power | 25117
31 | [inverter 15]Reactive Power | 25118
32 | [inverter 16]Active Power | 25119
33 | [inverter 16]Reactive Power | 25120
34 | [inverter 17]Active Power | 25121
35 | [inverter 17]Reactive Power | 25122
36 | [inverter 18]Active Power | 25123
37 | [inverter 18]Reactive Power | 25124
38 | [inverter 19]Active Power | 25125
39 | [inverter 19]Reactive Power | 25126
40 | [inverter 20]Active Power | 25127
41 | [inverter 20]Reactive Power | 25128
42 | [inverter 21]Active Power | 25129
43 | [inverter 21]Reactive Power | 25130
44 | [inverter 22]Active Power | 25131
45 | [inverter 22]Reactive Power | 25132
46 | [inverter 23]Active Power | 25133
47 | [inverter 23]Reactive Power | 25134
48 | [inverter 24]Active Power | 25135
49 | [inverter 24]Reactive Power | 25136
50 | [inverter 25]Active Power | 25137
51 | [inverter 25]Reactive Power | 25138
52 | [inverter 26]Active Power | 25139
53 | [inverter 26]Reactive Power | 25140
54 | [inverter 27]Active Power | 25141
55 | [inverter 27]Reactive Power | 25142
56 | [inverter 28]Active Power | 25143
57 | [inverter 28]Reactive Power | 25144
58 | [inverter 29]Active Power | 25145
59 | [inverter 29]Reactive Power | 25146
60 | [inverter 30]Active Power | 25147
61 | [inverter 30]Reactive Power | 25148
62 | [inverter 31]Active Power | 25149
63 | [inverter 31]Reactive Power | 25150
64 | [inverter 32]Active Power | 25151
65 | [inverter 32]Reactive Power | 25152
66 | [inverter 33]Active Power | 25153
67 | [inverter 33]Reactive Power | 25154
68 | [inverter 34]Active Power | 25155
69 | [inverter 34]Reactive Power | 25156
70 | [inverter 35]Active Power | 25157
71 | [inverter 35]Reactive Power | 25158
72 | [inverter 36]Active Power | 25159
73 | [inverter 36]Reactive Power | 25160
74 | [inverter 37]Active Power | 25161
75 | [inverter 37]Reactive Power | 25162
76 | [inverter 38]Active Power | 25163
77 | [inverter 38]Reactive Power | 25164
78 | [inverter 39]Active Power | 25165
79 | [inverter 39]Reactive Power | 25166
80 | [inverter 40]Active Power | 25167
81 | [inverter 40]Reactive Power | 25168
82 | [inverter 41]Active Power | 25169
83 | [inverter 41]Reactive Power | 25170
84 | [inverter 42]Active Power | 25171
85 | [inverter 42]Reactive Power | 25172
86 | [inverter 43]Active Power | 25173
87 | [inverter 43]Reactive Power | 25174
88 | [inverter 44]Active Power | 25175
89 | [inverter 44]Reactive Power | 25176
90 | [inverter 45]Active Power | 25177
91 | [inverter 45]Reactive Power | 25178
92 | [inverter 46]Active Power | 25179
93 | [inverter 46]Reactive Power | 25180
94 | [inverter 47]Active Power | 25181
95 | [inverter 47]Reactive Power | 25182
96 | [inverter 48]Active Power | 25183
97 | [inverter 48]Reactive Power | 25184
98 | [inverter 49]Active Power | 25185
99 | [inverter 49]Reactive Power | 25186
100 | [inverter 50]Active Power | 25187
101 | [inverter 50]Reactive Power | 25188
102 | [inverter 51]Active Power | 25189
103 | [inverter 51]Reactive Power | 25190
104 | [inverter 52]Active Power | 25191
105 | [inverter 52]Reactive Power | 25192
106 | [inverter 53]Active Power | 25193
107 | [inverter 53]Reactive Power | 25194
108 | [inverter 54]Active Power | 25195
109 | [inverter 54]Reactive Power | 25196
110 | [inverter 55]Active Power | 25197
111 | [inverter 55]Reactive Power | 25198
112 | [inverter 56]Active Power | 25199
113 | [inverter 56]Reactive Power | 25200
114 | [inverter 57]Active Power | 25201
115 | [inverter 57]Reactive Power | 25202
116 | [inverter 58]Active Power | 25203
117 | [inverter 58]Reactive Power | 25204
118 | [inverter 59]Active Power | 25205
119 | [inverter 59]Reactive Power | 25206
120 | [inverter 60]Active Power | 25207
121 | [inverter 60]Reactive Power | 25208

## Remote singal
Num | Label | English Description | Point Num | Unit | Factor
1 | 正美NB302 Site Number | Run | 1 | NA | 1
2 |  | Standby | 2 | NA | 1
3 |  | Operation failure | 3 | NA | 1
4 |  | Communication failure | 4 | NA | 1
5 |  | Leakage current sensor self-check abnormality | 5 | NA | 1
6 |  | AC HCT failure | 6 | NA | 1
7 |  | Sampling reference voltage self-check abnormality | 7 | NA | 1
8 |  | Master-slave CPU DC component check abnormality | 8 | NA | 1
9 |  | Master-slave CPU leakage current check abnormality | 9 | NA | 1
10 |  | GFCI failure | 10 | NA | 1
11 |  | Relay failure | 11 | NA | 1
12 |  | AC current sampling sensor failure | 12 | NA | 1
13 |  | Utility loss | 13 | NA | 1
14 |  | Ground I failure | 14 | NA | 1
15 |  | DC Bus High | 15 | NA | 1
16 |  | IFAN failure | 16 | NA | 1
17 |  | Over Temperature | 17 | NA | 1
18 |  | Inverter self-check failed failure | 18 | NA | 1
19 |  | PV Over Voltage | 19 | NA | 1
20 |  | EFAN failure | 20 | NA | 1
21 |  | VAC failure | 21 | NA | 1
22 |  | Isolation failure | 22 | NA | 1
23 |  | DC Injection High | 23 | NA | 1
24 |  | LCD communication failure | 24 | NA | 1
25 |  | String overcurrent | 25 | NA | 1
26 |  | Master-slave CPU grid frequency verification abnormality | 26 | NA | 1
27 |  | Master-slave CPU grid voltage verification abnormality | 27 | NA | 1
28 |  | Relay check failure | 28 | NA | 1
29 |  | FAC failure | 29 | NA | 1
30 |  | EEPROM R/W failure | 30 | NA | 1
31 |  | SPI failure | 31 | NA | 1
32 |  | Reservation | 32 | NA | 1
33 | 正福NB402 |  | 33 | NA | 1
34 |  |  | 34 | NA | 1
35 |  |  | 35 | NA | 1
36 |  |  | 36 | NA | 1
37 |  |  | 37 | NA | 1
38 |  |  | 38 | NA | 1
39 |  |  | 39 | NA | 1
40 |  |  | 40 | NA | 1
41 |  |  | 41 | NA | 1
42 |  |  | 42 | NA | 1
43 |  |  | 43 | NA | 1
44 |  |  | 44 | NA | 1
45 |  |  | 45 | NA | 1
46 |  |  | 46 | NA | 1
47 |  |  | 47 | NA | 1
48 |  |  | 48 | NA | 1
49 |  |  | 49 | NA | 1
50 |  |  | 50 | NA | 1
51 |  |  | 51 | NA | 1
52 |  |  | 52 | NA | 1
53 |  |  | 53 | NA | 1
54 |  |  | 54 | NA | 1
55 |  |  | 55 | NA | 1
56 |  |  | 56 | NA | 1
57 |  |  | 57 | NA | 1
58 |  |  | 58 | NA | 1
59 |  |  | 59 | NA | 1
60 |  |  | 60 | NA | 1
61 |  |  | 61 | NA | 1
62 |  |  | 62 | NA | 1
63 |  |  | 63 | NA | 1
64 |  |  | 64 | NA | 1
65 | 正福NB403 |  | 65 | NA | 1
66 |  |  | 66 | NA | 1
67 |  |  | 67 | NA | 1
68 |  |  | 68 | NA | 1
69 |  |  | 69 | NA | 1
70 |  |  | 70 | NA | 1
71 |  |  | 71 | NA | 1
72 |  |  | 72 | NA | 1
73 |  |  | 73 | NA | 1
74 |  |  | 74 | NA | 1
75 |  |  | 75 | NA | 1
76 |  |  | 76 | NA | 1
77 |  |  | 77 | NA | 1
78 |  |  | 78 | NA | 1
79 |  |  | 79 | NA | 1
80 |  |  | 80 | NA | 1
81 |  |  | 81 | NA | 1
82 |  |  | 82 | NA | 1
83 |  |  | 83 | NA | 1
84 |  |  | 84 | NA | 1
85 |  |  | 85 | NA | 1
86 |  |  | 86 | NA | 1
87 |  |  | 87 | NA | 1
88 |  |  | 88 | NA | 1
89 |  |  | 89 | NA | 1
90 |  |  | 90 | NA | 1
91 |  |  | 91 | NA | 1
92 |  |  | 92 | NA | 1
93 |  |  | 93 | NA | 1
94 |  |  | 94 | NA | 1
95 |  |  | 95 | NA | 1
96 |  |  | 96 | NA | 1
97 | 正美NB402 |  | 97 | NA | 1
98 |  |  | 98 | NA | 1
99 |  |  | 99 | NA | 1
100 |  |  | 100 | NA | 1
101 |  |  | 101 | NA | 1
102 |  |  | 102 | NA | 1
103 |  |  | 103 | NA | 1
104 |  |  | 104 | NA | 1
105 |  |  | 105 | NA | 1
106 |  |  | 106 | NA | 1
107 |  |  | 107 | NA | 1
108 |  |  | 108 | NA | 1
109 |  |  | 109 | NA | 1
110 |  |  | 110 | NA | 1
111 |  |  | 111 | NA | 1
112 |  |  | 112 | NA | 1
113 |  |  | 113 | NA | 1
114 |  |  | 114 | NA | 1
115 |  |  | 115 | NA | 1
116 |  |  | 116 | NA | 1
117 |  |  | 117 | NA | 1
118 |  |  | 118 | NA | 1
119 |  |  | 119 | NA | 1
120 |  |  | 120 | NA | 1
121 |  |  | 121 | NA | 1
122 |  |  | 122 | NA | 1
123 |  |  | 123 | NA | 1
124 |  |  | 124 | NA | 1
125 |  |  | 125 | NA | 1
126 |  |  | 126 | NA | 1
127 |  |  | 127 | NA | 1
128 |  |  | 128 | NA | 1
129 | 正福NB303 |  | 129 | NA | 1
130 |  |  | 130 | NA | 1
131 |  |  | 131 | NA | 1
132 |  |  | 132 | NA | 1
133 |  |  | 133 | NA | 1
134 |  |  | 134 | NA | 1
135 |  |  | 135 | NA | 1
136 |  |  | 136 | NA | 1
137 |  |  | 137 | NA | 1
138 |  |  | 138 | NA | 1
139 |  |  | 139 | NA | 1
140 |  |  | 140 | NA | 1
141 |  |  | 141 | NA | 1
142 |  |  | 142 | NA | 1
143 |  |  | 143 | NA | 1
144 |  |  | 144 | NA | 1
145 |  |  | 145 | NA | 1
146 |  |  | 146 | NA | 1
147 |  |  | 147 | NA | 1
148 |  |  | 148 | NA | 1
149 |  |  | 149 | NA | 1
150 |  |  | 150 | NA | 1
151 |  |  | 151 | NA | 1
152 |  |  | 152 | NA | 1
153 |  |  | 153 | NA | 1
154 |  |  | 154 | NA | 1
155 |  |  | 155 | NA | 1
156 |  |  | 156 | NA | 1
157 |  |  | 157 | NA | 1
158 |  |  | 158 | NA | 1
159 |  |  | 159 | NA | 1
160 |  |  | 160 | NA | 1
161 | 正福NB302 |  | 161 | NA | 1
162 |  |  | 162 | NA | 1
163 |  |  | 163 | NA | 1
164 |  |  | 164 | NA | 1
165 |  |  | 165 | NA | 1
166 |  |  | 166 | NA | 1
167 |  |  | 167 | NA | 1
168 |  |  | 168 | NA | 1
169 |  |  | 169 | NA | 1
170 |  |  | 170 | NA | 1
171 |  |  | 171 | NA | 1
172 |  |  | 172 | NA | 1
173 |  |  | 173 | NA | 1
174 |  |  | 174 | NA | 1
175 |  |  | 175 | NA | 1
176 |  |  | 176 | NA | 1
177 |  |  | 177 | NA | 1
178 |  |  | 178 | NA | 1
179 |  |  | 179 | NA | 1
180 |  |  | 180 | NA | 1
181 |  |  | 181 | NA | 1
182 |  |  | 182 | NA | 1
183 |  |  | 183 | NA | 1
184 |  |  | 184 | NA | 1
185 |  |  | 185 | NA | 1
186 |  |  | 186 | NA | 1
187 |  |  | 187 | NA | 1
188 |  |  | 188 | NA | 1
189 |  |  | 189 | NA | 1
190 |  |  | 190 | NA | 1
191 |  |  | 191 | NA | 1
192 |  |  | 192 | NA | 1
193 | 正福NB401 |  | 193 | NA | 1
194 |  |  | 194 | NA | 1
195 |  |  | 195 | NA | 1
196 |  |  | 196 | NA | 1
197 |  |  | 197 | NA | 1
198 |  |  | 198 | NA | 1
199 |  |  | 199 | NA | 1
200 |  |  | 200 | NA | 1
201 |  |  | 201 | NA | 1
202 |  |  | 202 | NA | 1
203 |  |  | 203 | NA | 1
204 |  |  | 204 | NA | 1
205 |  |  | 205 | NA | 1
206 |  |  | 206 | NA | 1
207 |  |  | 207 | NA | 1
208 |  |  | 208 | NA | 1
209 |  |  | 209 | NA | 1
210 |  |  | 210 | NA | 1
211 |  |  | 211 | NA | 1
212 |  |  | 212 | NA | 1
213 |  |  | 213 | NA | 1
214 |  |  | 214 | NA | 1
215 |  |  | 215 | NA | 1
216 |  |  | 216 | NA | 1
217 |  |  | 217 | NA | 1
218 |  |  | 218 | NA | 1
219 |  |  | 219 | NA | 1
220 |  |  | 220 | NA | 1
221 |  |  | 221 | NA | 1
222 |  |  | 222 | NA | 1
223 |  |  | 223 | NA | 1
224 |  |  | 224 | NA | 1
225 | 正美NB301 |  | 225 | NA | 1
226 |  |  | 226 | NA | 1
227 |  |  | 227 | NA | 1
228 |  |  | 228 | NA | 1
229 |  |  | 229 | NA | 1
230 |  |  | 230 | NA | 1
231 |  |  | 231 | NA | 1
232 |  |  | 232 | NA | 1
233 |  |  | 233 | NA | 1
234 |  |  | 234 | NA | 1
235 |  |  | 235 | NA | 1
236 |  |  | 236 | NA | 1
237 |  |  | 237 | NA | 1
238 |  |  | 238 | NA | 1
239 |  |  | 239 | NA | 1
240 |  |  | 240 | NA | 1
241 |  |  | 241 | NA | 1
242 |  |  | 242 | NA | 1
243 |  |  | 243 | NA | 1
244 |  |  | 244 | NA | 1
245 |  |  | 245 | NA | 1
246 |  |  | 246 | NA | 1
247 |  |  | 247 | NA | 1
248 |  |  | 248 | NA | 1
249 |  |  | 249 | NA | 1
250 |  |  | 250 | NA | 1
251 |  |  | 251 | NA | 1
252 |  |  | 252 | NA | 1
253 |  |  | 253 | NA | 1
254 |  |  | 254 | NA | 1
255 |  |  | 255 | NA | 1
256 |  |  | 256 | NA | 1
257 | 正美NB303 |  | 257 | NA | 1
258 |  |  | 258 | NA | 1
259 |  |  | 259 | NA | 1
260 |  |  | 260 | NA | 1
261 |  |  | 261 | NA | 1
262 |  |  | 262 | NA | 1
263 |  |  | 263 | NA | 1
264 |  |  | 264 | NA | 1
265 |  |  | 265 | NA | 1
266 |  |  | 266 | NA | 1
267 |  |  | 267 | NA | 1
268 |  |  | 268 | NA | 1
269 |  |  | 269 | NA | 1
270 |  |  | 270 | NA | 1
271 |  |  | 271 | NA | 1
272 |  |  | 272 | NA | 1
273 |  |  | 273 | NA | 1
274 |  |  | 274 | NA | 1
275 |  |  | 275 | NA | 1
276 |  |  | 276 | NA | 1
277 |  |  | 277 | NA | 1
278 |  |  | 278 | NA | 1
279 |  |  | 279 | NA | 1
280 |  |  | 280 | NA | 1
281 |  |  | 281 | NA | 1
282 |  |  | 282 | NA | 1
283 |  |  | 283 | NA | 1
284 |  |  | 284 | NA | 1
285 |  |  | 285 | NA | 1
286 |  |  | 286 | NA | 1
287 |  |  | 287 | NA | 1
288 |  |  | 288 | NA | 1
289 | 正美NB404 |  | 289 | NA | 1
290 |  |  | 290 | NA | 1
291 |  |  | 291 | NA | 1
292 |  |  | 292 | NA | 1
293 |  |  | 293 | NA | 1
294 |  |  | 294 | NA | 1
295 |  |  | 295 | NA | 1
296 |  |  | 296 | NA | 1
297 |  |  | 297 | NA | 1
298 |  |  | 298 | NA | 1
299 |  |  | 299 | NA | 1
300 |  |  | 300 | NA | 1
301 |  |  | 301 | NA | 1
302 |  |  | 302 | NA | 1
303 |  |  | 303 | NA | 1
304 |  |  | 304 | NA | 1
305 |  |  | 305 | NA | 1
306 |  |  | 306 | NA | 1
307 |  |  | 307 | NA | 1
308 |  |  | 308 | NA | 1
309 |  |  | 309 | NA | 1
310 |  |  | 310 | NA | 1
311 |  |  | 311 | NA | 1
312 |  |  | 312 | NA | 1
313 |  |  | 313 | NA | 1
314 |  |  | 314 | NA | 1
315 |  |  | 315 | NA | 1
316 |  |  | 316 | NA | 1
317 |  |  | 317 | NA | 1
318 |  |  | 318 | NA | 1
319 |  |  | 319 | NA | 1
320 |  |  | 320 | NA | 1
321 | 正福NB301 |  | 321 | NA | 1
322 |  |  | 322 | NA | 1
323 |  |  | 323 | NA | 1
324 |  |  | 324 | NA | 1
325 |  |  | 325 | NA | 1
326 |  |  | 326 | NA | 1
327 |  |  | 327 | NA | 1
328 |  |  | 328 | NA | 1
329 |  |  | 329 | NA | 1
330 |  |  | 330 | NA | 1
331 |  |  | 331 | NA | 1
332 |  |  | 332 | NA | 1
333 |  |  | 333 | NA | 1
334 |  |  | 334 | NA | 1
335 |  |  | 335 | NA | 1
336 |  |  | 336 | NA | 1
337 |  |  | 337 | NA | 1
338 |  |  | 338 | NA | 1
339 |  |  | 339 | NA | 1
340 |  |  | 340 | NA | 1
341 |  |  | 341 | NA | 1
342 |  |  | 342 | NA | 1
343 |  |  | 343 | NA | 1
344 |  |  | 344 | NA | 1
345 |  |  | 345 | NA | 1
346 |  |  | 346 | NA | 1
347 |  |  | 347 | NA | 1
348 |  |  | 348 | NA | 1
349 |  |  | 349 | NA | 1
350 |  |  | 350 | NA | 1
351 |  |  | 351 | NA | 1
352 |  |  | 352 | NA | 1
353 | 正美NB403 |  | 353 | NA | 1
354 |  |  | 354 | NA | 1
355 |  |  | 355 | NA | 1
356 |  |  | 356 | NA | 1
357 |  |  | 357 | NA | 1
358 |  |  | 358 | NA | 1
359 |  |  | 359 | NA | 1
360 |  |  | 360 | NA | 1
361 |  |  | 361 | NA | 1
362 |  |  | 362 | NA | 1
363 |  |  | 363 | NA | 1
364 |  |  | 364 | NA | 1
365 |  |  | 365 | NA | 1
366 |  |  | 366 | NA | 1
367 |  |  | 367 | NA | 1
368 |  |  | 368 | NA | 1
369 |  |  | 369 | NA | 1
370 |  |  | 370 | NA | 1
371 |  |  | 371 | NA | 1
372 |  |  | 372 | NA | 1
373 |  |  | 373 | NA | 1
374 |  |  | 374 | NA | 1
375 |  |  | 375 | NA | 1
376 |  |  | 376 | NA | 1
377 |  |  | 377 | NA | 1
378 |  |  | 378 | NA | 1
379 |  |  | 379 | NA | 1
380 |  |  | 380 | NA | 1
381 |  |  | 381 | NA | 1
382 |  |  | 382 | NA | 1
383 |  |  | 383 | NA | 1
384 |  |  | 384 | NA | 1
385 | 正美NB401 |  | 385 | NA | 1
386 |  |  | 386 | NA | 1
387 |  |  | 387 | NA | 1
388 |  |  | 388 | NA | 1
389 |  |  | 389 | NA | 1
390 |  |  | 390 | NA | 1
391 |  |  | 391 | NA | 1
392 |  |  | 392 | NA | 1
393 |  |  | 393 | NA | 1
394 |  |  | 394 | NA | 1
395 |  |  | 395 | NA | 1
396 |  |  | 396 | NA | 1
397 |  |  | 397 | NA | 1
398 |  |  | 398 | NA | 1
399 |  |  | 399 | NA | 1
400 |  |  | 400 | NA | 1
401 |  |  | 401 | NA | 1
402 |  |  | 402 | NA | 1
403 |  |  | 403 | NA | 1
404 |  |  | 404 | NA | 1
405 |  |  | 405 | NA | 1
406 |  |  | 406 | NA | 1
407 |  |  | 407 | NA | 1
408 |  |  | 408 | NA | 1
409 |  |  | 409 | NA | 1
410 |  |  | 410 | NA | 1
411 |  |  | 411 | NA | 1
412 |  |  | 412 | NA | 1
413 |  |  | 413 | NA | 1
414 |  |  | 414 | NA | 1
415 |  |  | 415 | NA | 1
416 |  |  | 416 | NA | 1
417 | 正福NB201 |  | 417 | NA | 1
418 |  |  | 418 | NA | 1
419 |  |  | 419 | NA | 1
420 |  |  | 420 | NA | 1
421 |  |  | 421 | NA | 1
422 |  |  | 422 | NA | 1
423 |  |  | 423 | NA | 1
424 |  |  | 424 | NA | 1
425 |  |  | 425 | NA | 1
426 |  |  | 426 | NA | 1
427 |  |  | 427 | NA | 1
428 |  |  | 428 | NA | 1
429 |  |  | 429 | NA | 1
430 |  |  | 430 | NA | 1
431 |  |  | 431 | NA | 1
432 |  |  | 432 | NA | 1
433 |  |  | 433 | NA | 1
434 |  |  | 434 | NA | 1
435 |  |  | 435 | NA | 1
436 |  |  | 436 | NA | 1
437 |  |  | 437 | NA | 1
438 |  |  | 438 | NA | 1
439 |  |  | 439 | NA | 1
440 |  |  | 440 | NA | 1
441 |  |  | 441 | NA | 1
442 |  |  | 442 | NA | 1
443 |  |  | 443 | NA | 1
444 |  |  | 444 | NA | 1
445 |  |  | 445 | NA | 1
446 |  |  | 446 | NA | 1
447 |  |  | 447 | NA | 1
448 |  |  | 448 | NA | 1
449 | 正福NB103 |  | 449 | NA | 1
450 |  |  | 450 | NA | 1
451 |  |  | 451 | NA | 1
452 |  |  | 452 | NA | 1
453 |  |  | 453 | NA | 1
454 |  |  | 454 | NA | 1
455 |  |  | 455 | NA | 1
456 |  |  | 456 | NA | 1
457 |  |  | 457 | NA | 1
458 |  |  | 458 | NA | 1
459 |  |  | 459 | NA | 1
460 |  |  | 460 | NA | 1
461 |  |  | 461 | NA | 1
462 |  |  | 462 | NA | 1
463 |  |  | 463 | NA | 1
464 |  |  | 464 | NA | 1
465 |  |  | 465 | NA | 1
466 |  |  | 466 | NA | 1
467 |  |  | 467 | NA | 1
468 |  |  | 468 | NA | 1
469 |  |  | 469 | NA | 1
470 |  |  | 470 | NA | 1
471 |  |  | 471 | NA | 1
472 |  |  | 472 | NA | 1
473 |  |  | 473 | NA | 1
474 |  |  | 474 | NA | 1
475 |  |  | 475 | NA | 1
476 |  |  | 476 | NA | 1
477 |  |  | 477 | NA | 1
478 |  |  | 478 | NA | 1
479 |  |  | 479 | NA | 1
480 |  |  | 480 | NA | 1
481 | 正福NB102 |  | 481 | NA | 1
482 |  |  | 482 | NA | 1
483 |  |  | 483 | NA | 1
484 |  |  | 484 | NA | 1
485 |  |  | 485 | NA | 1
486 |  |  | 486 | NA | 1
487 |  |  | 487 | NA | 1
488 |  |  | 488 | NA | 1
489 |  |  | 489 | NA | 1
490 |  |  | 490 | NA | 1
491 |  |  | 491 | NA | 1
492 |  |  | 492 | NA | 1
493 |  |  | 493 | NA | 1
494 |  |  | 494 | NA | 1
495 |  |  | 495 | NA | 1
496 |  |  | 496 | NA | 1
497 |  |  | 497 | NA | 1
498 |  |  | 498 | NA | 1
499 |  |  | 499 | NA | 1
500 |  |  | 500 | NA | 1
501 |  |  | 501 | NA | 1
502 |  |  | 502 | NA | 1
503 |  |  | 503 | NA | 1
504 |  |  | 504 | NA | 1
505 |  |  | 505 | NA | 1
506 |  |  | 506 | NA | 1
507 |  |  | 507 | NA | 1
508 |  |  | 508 | NA | 1
509 |  |  | 509 | NA | 1
510 |  |  | 510 | NA | 1
511 |  |  | 511 | NA | 1
512 |  |  | 512 | NA | 1
513 | 正福NB101 |  | 513 | NA | 1
514 |  |  | 514 | NA | 1
515 |  |  | 515 | NA | 1
516 |  |  | 516 | NA | 1
517 |  |  | 517 | NA | 1
518 |  |  | 518 | NA | 1
519 |  |  | 519 | NA | 1
520 |  |  | 520 | NA | 1
521 |  |  | 521 | NA | 1
522 |  |  | 522 | NA | 1
523 |  |  | 523 | NA | 1
524 |  |  | 524 | NA | 1
525 |  |  | 525 | NA | 1
526 |  |  | 526 | NA | 1
527 |  |  | 527 | NA | 1
528 |  |  | 528 | NA | 1
529 |  |  | 529 | NA | 1
530 |  |  | 530 | NA | 1
531 |  |  | 531 | NA | 1
532 |  |  | 532 | NA | 1
533 |  |  | 533 | NA | 1
534 |  |  | 534 | NA | 1
535 |  |  | 535 | NA | 1
536 |  |  | 536 | NA | 1
537 |  |  | 537 | NA | 1
538 |  |  | 538 | NA | 1
539 |  |  | 539 | NA | 1
540 |  |  | 540 | NA | 1
541 |  |  | 541 | NA | 1
542 |  |  | 542 | NA | 1
543 |  |  | 543 | NA | 1
544 |  |  | 544 | NA | 1
545 | 正福NB203 |  | 545 | NA | 1
546 |  |  | 546 | NA | 1
547 |  |  | 547 | NA | 1
548 |  |  | 548 | NA | 1
549 |  |  | 549 | NA | 1
550 |  |  | 550 | NA | 1
551 |  |  | 551 | NA | 1
552 |  |  | 552 | NA | 1
553 |  |  | 553 | NA | 1
554 |  |  | 554 | NA | 1
555 |  |  | 555 | NA | 1
556 |  |  | 556 | NA | 1
557 |  |  | 557 | NA | 1
558 |  |  | 558 | NA | 1
559 |  |  | 559 | NA | 1
560 |  |  | 560 | NA | 1
561 |  |  | 561 | NA | 1
562 |  |  | 562 | NA | 1
563 |  |  | 563 | NA | 1
564 |  |  | 564 | NA | 1
565 |  |  | 565 | NA | 1
566 |  |  | 566 | NA | 1
567 |  |  | 567 | NA | 1
568 |  |  | 568 | NA | 1
569 |  |  | 569 | NA | 1
570 |  |  | 570 | NA | 1
571 |  |  | 571 | NA | 1
572 |  |  | 572 | NA | 1
573 |  |  | 573 | NA | 1
574 |  |  | 574 | NA | 1
575 |  |  | 575 | NA | 1
576 |  |  | 576 | NA | 1
577 | 正福NB204 |  | 577 | NA | 1
578 |  |  | 578 | NA | 1
579 |  |  | 579 | NA | 1
580 |  |  | 580 | NA | 1
581 |  |  | 581 | NA | 1
582 |  |  | 582 | NA | 1
583 |  |  | 583 | NA | 1
584 |  |  | 584 | NA | 1
585 |  |  | 585 | NA | 1
586 |  |  | 586 | NA | 1
587 |  |  | 587 | NA | 1
588 |  |  | 588 | NA | 1
589 |  |  | 589 | NA | 1
590 |  |  | 590 | NA | 1
591 |  |  | 591 | NA | 1
592 |  |  | 592 | NA | 1
593 |  |  | 593 | NA | 1
594 |  |  | 594 | NA | 1
595 |  |  | 595 | NA | 1
596 |  |  | 596 | NA | 1
597 |  |  | 597 | NA | 1
598 |  |  | 598 | NA | 1
599 |  |  | 599 | NA | 1
600 |  |  | 600 | NA | 1
601 |  |  | 601 | NA | 1
602 |  |  | 602 | NA | 1
603 |  |  | 603 | NA | 1
604 |  |  | 604 | NA | 1
605 |  |  | 605 | NA | 1
606 |  |  | 606 | NA | 1
607 |  |  | 607 | NA | 1
608 |  |  | 608 | NA | 1
609 | 正美NB203 |  | 609 | NA | 1
610 |  |  | 610 | NA | 1
611 |  |  | 611 | NA | 1
612 |  |  | 612 | NA | 1
613 |  |  | 613 | NA | 1
614 |  |  | 614 | NA | 1
615 |  |  | 615 | NA | 1
616 |  |  | 616 | NA | 1
617 |  |  | 617 | NA | 1
618 |  |  | 618 | NA | 1
619 |  |  | 619 | NA | 1
620 |  |  | 620 | NA | 1
621 |  |  | 621 | NA | 1
622 |  |  | 622 | NA | 1
623 |  |  | 623 | NA | 1
624 |  |  | 624 | NA | 1
625 |  |  | 625 | NA | 1
626 |  |  | 626 | NA | 1
627 |  |  | 627 | NA | 1
628 |  |  | 628 | NA | 1
629 |  |  | 629 | NA | 1
630 |  |  | 630 | NA | 1
631 |  |  | 631 | NA | 1
632 |  |  | 632 | NA | 1
633 |  |  | 633 | NA | 1
634 |  |  | 634 | NA | 1
635 |  |  | 635 | NA | 1
636 |  |  | 636 | NA | 1
637 |  |  | 637 | NA | 1
638 |  |  | 638 | NA | 1
639 |  |  | 639 | NA | 1
640 |  |  | 640 | NA | 1
641 | 正美NB102 |  | 641 | NA | 1
642 |  |  | 642 | NA | 1
643 |  |  | 643 | NA | 1
644 |  |  | 644 | NA | 1
645 |  |  | 645 | NA | 1
646 |  |  | 646 | NA | 1
647 |  |  | 647 | NA | 1
648 |  |  | 648 | NA | 1
649 |  |  | 649 | NA | 1
650 |  |  | 650 | NA | 1
651 |  |  | 651 | NA | 1
652 |  |  | 652 | NA | 1
653 |  |  | 653 | NA | 1
654 |  |  | 654 | NA | 1
655 |  |  | 655 | NA | 1
656 |  |  | 656 | NA | 1
657 |  |  | 657 | NA | 1
658 |  |  | 658 | NA | 1
659 |  |  | 659 | NA | 1
660 |  |  | 660 | NA | 1
661 |  |  | 661 | NA | 1
662 |  |  | 662 | NA | 1
663 |  |  | 663 | NA | 1
664 |  |  | 664 | NA | 1
665 |  |  | 665 | NA | 1
666 |  |  | 666 | NA | 1
667 |  |  | 667 | NA | 1
668 |  |  | 668 | NA | 1
669 |  |  | 669 | NA | 1
670 |  |  | 670 | NA | 1
671 |  |  | 671 | NA | 1
672 |  |  | 672 | NA | 1
673 | 正美NB103 |  | 673 | NA | 1
674 |  |  | 674 | NA | 1
675 |  |  | 675 | NA | 1
676 |  |  | 676 | NA | 1
677 |  |  | 677 | NA | 1
678 |  |  | 678 | NA | 1
679 |  |  | 679 | NA | 1
680 |  |  | 680 | NA | 1
681 |  |  | 681 | NA | 1
682 |  |  | 682 | NA | 1
683 |  |  | 683 | NA | 1
684 |  |  | 684 | NA | 1
685 |  |  | 685 | NA | 1
686 |  |  | 686 | NA | 1
687 |  |  | 687 | NA | 1
688 |  |  | 688 | NA | 1
689 |  |  | 689 | NA | 1
690 |  |  | 690 | NA | 1
691 |  |  | 691 | NA | 1
692 |  |  | 692 | NA | 1
693 |  |  | 693 | NA | 1
694 |  |  | 694 | NA | 1
695 |  |  | 695 | NA | 1
696 |  |  | 696 | NA | 1
697 |  |  | 697 | NA | 1
698 |  |  | 698 | NA | 1
699 |  |  | 699 | NA | 1
700 |  |  | 700 | NA | 1
701 |  |  | 701 | NA | 1
702 |  |  | 702 | NA | 1
703 |  |  | 703 | NA | 1
704 |  |  | 704 | NA | 1
705 | 正美NB101 |  | 705 | NA | 1
706 |  |  | 706 | NA | 1
707 |  |  | 707 | NA | 1
708 |  |  | 708 | NA | 1
709 |  |  | 709 | NA | 1
710 |  |  | 710 | NA | 1
711 |  |  | 711 | NA | 1
712 |  |  | 712 | NA | 1
713 |  |  | 713 | NA | 1
714 |  |  | 714 | NA | 1
715 |  |  | 715 | NA | 1
716 |  |  | 716 | NA | 1
717 |  |  | 717 | NA | 1
718 |  |  | 718 | NA | 1
719 |  |  | 719 | NA | 1
720 |  |  | 720 | NA | 1
721 |  |  | 721 | NA | 1
722 |  |  | 722 | NA | 1
723 |  |  | 723 | NA | 1
724 |  |  | 724 | NA | 1
725 |  |  | 725 | NA | 1
726 |  |  | 726 | NA | 1
727 |  |  | 727 | NA | 1
728 |  |  | 728 | NA | 1
729 |  |  | 729 | NA | 1
730 |  |  | 730 | NA | 1
731 |  |  | 731 | NA | 1
732 |  |  | 732 | NA | 1
733 |  |  | 733 | NA | 1
734 |  |  | 734 | NA | 1
735 |  |  | 735 | NA | 1
736 |  |  | 736 | NA | 1
737 | 正美NB202 |  | 737 | NA | 1
738 |  |  | 738 | NA | 1
739 |  |  | 739 | NA | 1
740 |  |  | 740 | NA | 1
741 |  |  | 741 | NA | 1
742 |  |  | 742 | NA | 1
743 |  |  | 743 | NA | 1
744 |  |  | 744 | NA | 1
745 |  |  | 745 | NA | 1
746 |  |  | 746 | NA | 1
747 |  |  | 747 | NA | 1
748 |  |  | 748 | NA | 1
749 |  |  | 749 | NA | 1
750 |  |  | 750 | NA | 1
751 |  |  | 751 | NA | 1
752 |  |  | 752 | NA | 1
753 |  |  | 753 | NA | 1
754 |  |  | 754 | NA | 1
755 |  |  | 755 | NA | 1
756 |  |  | 756 | NA | 1
757 |  |  | 757 | NA | 1
758 |  |  | 758 | NA | 1
759 |  |  | 759 | NA | 1
760 |  |  | 760 | NA | 1
761 |  |  | 761 | NA | 1
762 |  |  | 762 | NA | 1
763 |  |  | 763 | NA | 1
764 |  |  | 764 | NA | 1
765 |  |  | 765 | NA | 1
766 |  |  | 766 | NA | 1
767 |  |  | 767 | NA | 1
768 |  |  | 768 | NA | 1
769 | 正美NB201 |  | 769 | NA | 1
770 |  |  | 770 | NA | 1
771 |  |  | 771 | NA | 1
772 |  |  | 772 | NA | 1
773 |  |  | 773 | NA | 1
774 |  |  | 774 | NA | 1
775 |  |  | 775 | NA | 1
776 |  |  | 776 | NA | 1
777 |  |  | 777 | NA | 1
778 |  |  | 778 | NA | 1
779 |  |  | 779 | NA | 1
780 |  |  | 780 | NA | 1
781 |  |  | 781 | NA | 1
782 |  |  | 782 | NA | 1
783 |  |  | 783 | NA | 1
784 |  |  | 784 | NA | 1
785 |  |  | 785 | NA | 1
786 |  |  | 786 | NA | 1
787 |  |  | 787 | NA | 1
788 |  |  | 788 | NA | 1
789 |  |  | 789 | NA | 1
790 |  |  | 790 | NA | 1
791 |  |  | 791 | NA | 1
792 |  |  | 792 | NA | 1
793 |  |  | 793 | NA | 1
794 |  |  | 794 | NA | 1
795 |  |  | 795 | NA | 1
796 |  |  | 796 | NA | 1
797 |  |  | 797 | NA | 1
798 |  |  | 798 | NA | 1
799 |  |  | 799 | NA | 1
800 |  |  | 800 | NA | 1
801 | 正福NB202 |  | 801 | NA | 1
802 |  |  | 802 | NA | 1
803 |  |  | 803 | NA | 1
804 |  |  | 804 | NA | 1
805 |  |  | 805 | NA | 1
806 |  |  | 806 | NA | 1
807 |  |  | 807 | NA | 1
808 |  |  | 808 | NA | 1
809 |  |  | 809 | NA | 1
810 |  |  | 810 | NA | 1
811 |  |  | 811 | NA | 1
812 |  |  | 812 | NA | 1
813 |  |  | 813 | NA | 1
814 |  |  | 814 | NA | 1
815 |  |  | 815 | NA | 1
816 |  |  | 816 | NA | 1
817 |  |  | 817 | NA | 1
818 |  |  | 818 | NA | 1
819 |  |  | 819 | NA | 1
820 |  |  | 820 | NA | 1
821 |  |  | 821 | NA | 1
822 |  |  | 822 | NA | 1
823 |  |  | 823 | NA | 1
824 |  |  | 824 | NA | 1
825 |  |  | 825 | NA | 1
826 |  |  | 826 | NA | 1
827 |  |  | 827 | NA | 1
828 |  |  | 828 | NA | 1
829 |  |  | 829 | NA | 1
830 |  |  | 830 | NA | 1
831 |  |  | 831 | NA | 1
832 |  |  | 832 | NA | 1

## Remote measure
Num | Inverter | 标签号 | English Description | Point Num | Unit | 系数
1 |  |  | E-Day | 16385 | V | 0.1
2 |  |  | E-Total | 16386 | V | 0.1
3 | Inverter 1 | 正美NB302 Site Number | DC input voltage 1 | 16387 | V | 0.1
4 |  |  | DC input voltage 2 | 16388 | V | 0.1
5 |  |  | DC input voltage 3 | 16389 | V | 0.1
6 |  |  | DC input voltage 4 | 16390 | V | 0.1
7 |  |  | DC input voltage 1 | 16391 | A | 0.1
8 |  |  | DC input voltage 2 | 16392 | A | 0.1
9 |  |  | DC input voltage 3 | 16393 | A | 0.1
10 |  |  | DC input voltage 4 | 16394 | A | 0.1
11 |  |  | AC output voltage 1 | 16395 | V | 0.1
12 |  |  | AC output voltage 2 | 16396 | V | 0.1
13 |  |  | AC output voltage 3 | 16397 | V | 0.1
14 |  |  | AC output current 1 | 16398 | A | 0.1
15 |  |  | AC output current 2 | 16399 | A | 0.1
16 |  |  | AC output current 3 | 16400 | A | 0.1
17 |  |  | AC output frequency 1 | 16401 | Hz | 0.01
18 |  |  | AC output frequency 2 | 16402 | Hz | 0.01
19 |  |  | AC output frequency 3 | 16403 | Hz | 17
20 |  |  | AC outout power | 16404 | W | 1
21 |  |  | BUS voltage | 16405 | V | 0.1
22 |  |  | NBUS voltage | 16406 | V | 0.1
23 |  |  | Temperature | 16407 | degree C | 0.1
24 |  |  | PV string current | 16408 | A | 0.1
25 |  |  | PV string current | 16409 | A | 0.1
26 |  |  | PV string current | 16410 | A | 0.1
27 |  |  | PV string current | 16411 | A | 0.1
28 |  |  | PV string current | 16412 | A | 0.1
29 |  |  | PV string current | 16413 | A | 0.1
30 |  |  | PV string current | 16414 | A | 0.1
31 |  |  | PV string current | 16415 | A | 0.1
32 |  |  | PV string current | 16416 | A | 0.1
33 |  |  | PV string current | 16417 | A | 0.1
34 |  |  | PV string current | 16418 | A | 0.1
35 |  |  | PV string current | 16419 | A | 0.1
36 |  |  | PV string current | 16420 | A | 0.1
37 |  |  | PV string current | 16421 | A | 0.1
38 |  |  | PV string current | 16422 | A | 0.1
39 |  |  | PV string current | 16423 | A | 0.1
40 |  |  | H-Total | 16424 | Hr | 1
41 |  |  | Daily power generation | 16425 | KW.Hr | 0.1
42 |  |  | Total power generation | 16426 | KW.Hr | 0.1
43 | Inverter 1 | 正福NB402 |  | 16427 | V | 0.1
44 |  |  |  | 16428 | V | 0.1
45 |  |  |  | 16429 | V | 0.1
46 |  |  |  | 16430 | V | 0.1
47 |  |  |  | 16431 | A | 0.1
48 |  |  |  | 16432 | A | 0.1
49 |  |  |  | 16433 | A | 0.1
50 |  |  |  | 16434 | A | 0.1
51 |  |  |  | 16435 | V | 0.1
52 |  |  |  | 16436 | V | 0.1
53 |  |  |  | 16437 | V | 0.1
54 |  |  |  | 16438 | A | 0.1
55 |  |  |  | 16439 | A | 0.1
56 |  |  |  | 16440 | A | 0.1
57 |  |  |  | 16441 | Hz | 0.01
58 |  |  |  | 16442 | Hz | 0.01
59 |  |  |  | 16443 | Hz | 17
60 |  |  |  | 16444 | W | 1
61 |  |  |  | 16445 | V | 0.1
62 |  |  |  | 16446 | V | 0.1
63 |  |  |  | 16447 | degree C | 0.1
64 |  |  |  | 16448 | A | 0.1
65 |  |  |  | 16449 | A | 0.1
66 |  |  |  | 16450 | A | 0.1
67 |  |  |  | 16451 | A | 0.1
68 |  |  |  | 16452 | A | 0.1
69 |  |  |  | 16453 | A | 0.1
70 |  |  |  | 16454 | A | 0.1
71 |  |  |  | 16455 | A | 0.1
72 |  |  |  | 16456 | A | 0.1
73 |  |  |  | 16457 | A | 0.1
74 |  |  |  | 16458 | A | 0.1
75 |  |  |  | 16459 | A | 0.1
76 |  |  |  | 16460 | A | 0.1
77 |  |  |  | 16461 | A | 0.1
78 |  |  |  | 16462 | A | 0.1
79 |  |  |  | 16463 | A | 0.1
80 |  |  |  | 16464 | Hr | 1
81 |  |  |  | 16465 | KW.Hr | 0.1
82 |  |  |  | 16466 | KW.Hr | 0.1
83 | Inverter 1 | 正福NB403 |  | 16467 | V | 0.1
84 |  |  |  | 16468 | V | 0.1
85 |  |  |  | 16469 | V | 0.1
86 |  |  |  | 16470 | V | 0.1
87 |  |  |  | 16471 | A | 0.1
88 |  |  |  | 16472 | A | 0.1
89 |  |  |  | 16473 | A | 0.1
90 |  |  |  | 16474 | A | 0.1
91 |  |  |  | 16475 | V | 0.1
92 |  |  |  | 16476 | V | 0.1
93 |  |  |  | 16477 | V | 0.1
94 |  |  |  | 16478 | A | 0.1
95 |  |  |  | 16479 | A | 0.1
96 |  |  |  | 16480 | A | 0.1
97 |  |  |  | 16481 | Hz | 0.01
98 |  |  |  | 16482 | Hz | 0.01
99 |  |  |  | 16483 | Hz | 17
100 |  |  |  | 16484 | W | 1
101 |  |  |  | 16485 | V | 0.1
102 |  |  |  | 16486 | V | 0.1
103 |  |  |  | 16487 | degree C | 0.1
104 |  |  |  | 16488 | A | 0.1
105 |  |  |  | 16489 | A | 0.1
106 |  |  |  | 16490 | A | 0.1
107 |  |  |  | 16491 | A | 0.1
108 |  |  |  | 16492 | A | 0.1
109 |  |  |  | 16493 | A | 0.1
110 |  |  |  | 16494 | A | 0.1
111 |  |  |  | 16495 | A | 0.1
112 |  |  |  | 16496 | A | 0.1
113 |  |  |  | 16497 | A | 0.1
114 |  |  |  | 16498 | A | 0.1
115 |  |  |  | 16499 | A | 0.1
116 |  |  |  | 16500 | A | 0.1
117 |  |  |  | 16501 | A | 0.1
118 |  |  |  | 16502 | A | 0.1
119 |  |  |  | 16503 | A | 0.1
120 |  |  |  | 16504 | Hr | 1
121 |  |  |  | 16505 | KW.Hr | 0.1
122 |  |  |  | 16506 | KW.Hr | 0.1
123 | Inverter 1 | 正美NB402 |  | 16507 | V | 0.1
124 |  |  |  | 16508 | V | 0.1
125 |  |  |  | 16509 | V | 0.1
126 |  |  |  | 16510 | V | 0.1
127 |  |  |  | 16511 | A | 0.1
128 |  |  |  | 16512 | A | 0.1
129 |  |  |  | 16513 | A | 0.1
130 |  |  |  | 16514 | A | 0.1
131 |  |  |  | 16515 | V | 0.1
132 |  |  |  | 16516 | V | 0.1
133 |  |  |  | 16517 | V | 0.1
134 |  |  |  | 16518 | A | 0.1
135 |  |  |  | 16519 | A | 0.1
136 |  |  |  | 16520 | A | 0.1
137 |  |  |  | 16521 | Hz | 0.01
138 |  |  |  | 16522 | Hz | 0.01
139 |  |  |  | 16523 | Hz | 17
140 |  |  |  | 16524 | W | 1
141 |  |  |  | 16525 | V | 0.1
142 |  |  |  | 16526 | V | 0.1
143 |  |  |  | 16527 | degree C | 0.1
144 |  |  |  | 16528 | A | 0.1
145 |  |  |  | 16529 | A | 0.1
146 |  |  |  | 16530 | A | 0.1
147 |  |  |  | 16531 | A | 0.1
148 |  |  |  | 16532 | A | 0.1
149 |  |  |  | 16533 | A | 0.1
150 |  |  |  | 16534 | A | 0.1
151 |  |  |  | 16535 | A | 0.1
152 |  |  |  | 16536 | A | 0.1
153 |  |  |  | 16537 | A | 0.1
154 |  |  |  | 16538 | A | 0.1
155 |  |  |  | 16539 | A | 0.1
156 |  |  |  | 16540 | A | 0.1
157 |  |  |  | 16541 | A | 0.1
158 |  |  |  | 16542 | A | 0.1
159 |  |  |  | 16543 | A | 0.1
160 |  |  |  | 16544 | Hr | 1
161 |  |  |  | 16545 | KW.Hr | 0.1
162 |  |  |  | 16546 | KW.Hr | 0.1
163 | Inverter 1 | 正福NB303 |  | 16547 | V | 0.1
164 |  |  |  | 16548 | V | 0.1
165 |  |  |  | 16549 | V | 0.1
166 |  |  |  | 16550 | V | 0.1
167 |  |  |  | 16551 | A | 0.1
168 |  |  |  | 16552 | A | 0.1
169 |  |  |  | 16553 | A | 0.1
170 |  |  |  | 16554 | A | 0.1
171 |  |  |  | 16555 | V | 0.1
172 |  |  |  | 16556 | V | 0.1
173 |  |  |  | 16557 | V | 0.1
174 |  |  |  | 16558 | A | 0.1
175 |  |  |  | 16559 | A | 0.1
176 |  |  |  | 16560 | A | 0.1
177 |  |  |  | 16561 | Hz | 0.01
178 |  |  |  | 16562 | Hz | 0.01
179 |  |  |  | 16563 | Hz | 17
180 |  |  |  | 16564 | W | 1
181 |  |  |  | 16565 | V | 0.1
182 |  |  |  | 16566 | V | 0.1
183 |  |  |  | 16567 | degree C | 0.1
184 |  |  |  | 16568 | A | 0.1
185 |  |  |  | 16569 | A | 0.1
186 |  |  |  | 16570 | A | 0.1
187 |  |  |  | 16571 | A | 0.1
188 |  |  |  | 16572 | A | 0.1
189 |  |  |  | 16573 | A | 0.1
190 |  |  |  | 16574 | A | 0.1
191 |  |  |  | 16575 | A | 0.1
192 |  |  |  | 16576 | A | 0.1
193 |  |  |  | 16577 | A | 0.1
194 |  |  |  | 16578 | A | 0.1
195 |  |  |  | 16579 | A | 0.1
196 |  |  |  | 16580 | A | 0.1
197 |  |  |  | 16581 | A | 0.1
198 |  |  |  | 16582 | A | 0.1
199 |  |  |  | 16583 | A | 0.1
200 |  |  |  | 16584 | Hr | 1
201 |  |  |  | 16585 | KW.Hr | 0.1
202 |  |  |  | 16586 | KW.Hr | 0.1
203 | 6号逆变器 | 正福NB302 |  | 16587 | V | 0.1
204 |  |  |  | 16588 | V | 0.1
205 |  |  |  | 16589 | V | 0.1
206 |  |  |  | 16590 | V | 0.1
207 |  |  |  | 16591 | A | 0.1
208 |  |  |  | 16592 | A | 0.1
209 |  |  |  | 16593 | A | 0.1
210 |  |  |  | 16594 | A | 0.1
211 |  |  |  | 16595 | V | 0.1
212 |  |  |  | 16596 | V | 0.1
213 |  |  |  | 16597 | V | 0.1
214 |  |  |  | 16598 | A | 0.1
215 |  |  |  | 16599 | A | 0.1
216 |  |  |  | 16600 | A | 0.1
217 |  |  |  | 16601 | Hz | 0.01
218 |  |  |  | 16602 | Hz | 0.01
219 |  |  |  | 16603 | Hz | 17
220 |  |  |  | 16604 | W | 1
221 |  |  |  | 16605 | V | 0.1
222 |  |  |  | 16606 | V | 0.1
223 |  |  |  | 16607 | degree C | 0.1
224 |  |  |  | 16608 | A | 0.1
225 |  |  |  | 16609 | A | 0.1
226 |  |  |  | 16610 | A | 0.1
227 |  |  |  | 16611 | A | 0.1
228 |  |  |  | 16612 | A | 0.1
229 |  |  |  | 16613 | A | 0.1
230 |  |  |  | 16614 | A | 0.1
231 |  |  |  | 16615 | A | 0.1
232 |  |  |  | 16616 | A | 0.1
233 |  |  |  | 16617 | A | 0.1
234 |  |  |  | 16618 | A | 0.1
235 |  |  |  | 16619 | A | 0.1
236 |  |  |  | 16620 | A | 0.1
237 |  |  |  | 16621 | A | 0.1
238 |  |  |  | 16622 | A | 0.1
239 |  |  |  | 16623 | A | 0.1
240 |  |  |  | 16624 | Hr | 1
241 |  |  |  | 16625 | KW.Hr | 0.1
242 |  |  |  | 16626 | KW.Hr | 0.1
243 | 7号逆变器 | 正福NB401 |  | 16627 | V | 0.1
244 |  |  |  | 16628 | V | 0.1
245 |  |  |  | 16629 | V | 0.1
246 |  |  |  | 16630 | V | 0.1
247 |  |  |  | 16631 | A | 0.1
248 |  |  |  | 16632 | A | 0.1
249 |  |  |  | 16633 | A | 0.1
250 |  |  |  | 16634 | A | 0.1
251 |  |  |  | 16635 | V | 0.1
252 |  |  |  | 16636 | V | 0.1
253 |  |  |  | 16637 | V | 0.1
254 |  |  |  | 16638 | A | 0.1
255 |  |  |  | 16639 | A | 0.1
256 |  |  |  | 16640 | A | 0.1
257 |  |  |  | 16641 | Hz | 0.01
258 |  |  |  | 16642 | Hz | 0.01
259 |  |  |  | 16643 | Hz | 17
260 |  |  |  | 16644 | W | 1
261 |  |  |  | 16645 | V | 0.1
262 |  |  |  | 16646 | V | 0.1
263 |  |  |  | 16647 | degree C | 0.1
264 |  |  |  | 16648 | A | 0.1
265 |  |  |  | 16649 | A | 0.1
266 |  |  |  | 16650 | A | 0.1
267 |  |  |  | 16651 | A | 0.1
268 |  |  |  | 16652 | A | 0.1
269 |  |  |  | 16653 | A | 0.1
270 |  |  |  | 16654 | A | 0.1
271 |  |  |  | 16655 | A | 0.1
272 |  |  |  | 16656 | A | 0.1
273 |  |  |  | 16657 | A | 0.1
274 |  |  |  | 16658 | A | 0.1
275 |  |  |  | 16659 | A | 0.1
276 |  |  |  | 16660 | A | 0.1
277 |  |  |  | 16661 | A | 0.1
278 |  |  |  | 16662 | A | 0.1
279 |  |  |  | 16663 | A | 0.1
280 |  |  |  | 16664 | Hr | 1
281 |  |  |  | 16665 | KW.Hr | 0.1
282 |  |  |  | 16666 | KW.Hr | 0.1
283 | 8号逆变器 | 正美NB301 |  | 16667 | V | 0.1
284 |  |  |  | 16668 | V | 0.1
285 |  |  |  | 16669 | V | 0.1
286 |  |  |  | 16670 | V | 0.1
287 |  |  |  | 16671 | A | 0.1
288 |  |  |  | 16672 | A | 0.1
289 |  |  |  | 16673 | A | 0.1
290 |  |  |  | 16674 | A | 0.1
291 |  |  |  | 16675 | V | 0.1
292 |  |  |  | 16676 | V | 0.1
293 |  |  |  | 16677 | V | 0.1
294 |  |  |  | 16678 | A | 0.1
295 |  |  |  | 16679 | A | 0.1
296 |  |  |  | 16680 | A | 0.1
297 |  |  |  | 16681 | Hz | 0.01
298 |  |  |  | 16682 | Hz | 0.01
299 |  |  |  | 16683 | Hz | 17
300 |  |  |  | 16684 | W | 1
301 |  |  |  | 16685 | V | 0.1
302 |  |  |  | 16686 | V | 0.1
303 |  |  |  | 16687 | degree C | 0.1
304 |  |  |  | 16688 | A | 0.1
305 |  |  |  | 16689 | A | 0.1
306 |  |  |  | 16690 | A | 0.1
307 |  |  |  | 16691 | A | 0.1
308 |  |  |  | 16692 | A | 0.1
309 |  |  |  | 16693 | A | 0.1
310 |  |  |  | 16694 | A | 0.1
311 |  |  |  | 16695 | A | 0.1
312 |  |  |  | 16696 | A | 0.1
313 |  |  |  | 16697 | A | 0.1
314 |  |  |  | 16698 | A | 0.1
315 |  |  |  | 16699 | A | 0.1
316 |  |  |  | 16700 | A | 0.1
317 |  |  |  | 16701 | A | 0.1
318 |  |  |  | 16702 | A | 0.1
319 |  |  |  | 16703 | A | 0.1
320 |  |  |  | 16704 | Hr | 1
321 |  |  |  | 16705 | KW.Hr | 0.1
322 |  |  |  | 16706 | KW.Hr | 0.1
323 | 9号逆变器 | 正美NB303 |  | 16707 | V | 0.1
324 |  |  |  | 16708 | V | 0.1
325 |  |  |  | 16709 | V | 0.1
326 |  |  |  | 16710 | V | 0.1
327 |  |  |  | 16711 | A | 0.1
328 |  |  |  | 16712 | A | 0.1
329 |  |  |  | 16713 | A | 0.1
330 |  |  |  | 16714 | A | 0.1
331 |  |  |  | 16715 | V | 0.1
332 |  |  |  | 16716 | V | 0.1
333 |  |  |  | 16717 | V | 0.1
334 |  |  |  | 16718 | A | 0.1
335 |  |  |  | 16719 | A | 0.1
336 |  |  |  | 16720 | A | 0.1
337 |  |  |  | 16721 | Hz | 0.01
338 |  |  |  | 16722 | Hz | 0.01
339 |  |  |  | 16723 | Hz | 17
340 |  |  |  | 16724 | W | 1
341 |  |  |  | 16725 | V | 0.1
342 |  |  |  | 16726 | V | 0.1
343 |  |  |  | 16727 | degree C | 0.1
344 |  |  |  | 16728 | A | 0.1
345 |  |  |  | 16729 | A | 0.1
346 |  |  |  | 16730 | A | 0.1
347 |  |  |  | 16731 | A | 0.1
348 |  |  |  | 16732 | A | 0.1
349 |  |  |  | 16733 | A | 0.1
350 |  |  |  | 16734 | A | 0.1
351 |  |  |  | 16735 | A | 0.1
352 |  |  |  | 16736 | A | 0.1
353 |  |  |  | 16737 | A | 0.1
354 |  |  |  | 16738 | A | 0.1
355 |  |  |  | 16739 | A | 0.1
356 |  |  |  | 16740 | A | 0.1
357 |  |  |  | 16741 | A | 0.1
358 |  |  |  | 16742 | A | 0.1
359 |  |  |  | 16743 | A | 0.1
360 |  |  |  | 16744 | Hr | 1
361 |  |  |  | 16745 | KW.Hr | 0.1
362 |  |  |  | 16746 | KW.Hr | 0.1
363 | 10号逆变器 | 正美NB404 |  | 16747 | V | 0.1
364 |  |  |  | 16748 | V | 0.1
365 |  |  |  | 16749 | V | 0.1
366 |  |  |  | 16750 | V | 0.1
367 |  |  |  | 16751 | A | 0.1
368 |  |  |  | 16752 | A | 0.1
369 |  |  |  | 16753 | A | 0.1
370 |  |  |  | 16754 | A | 0.1
371 |  |  |  | 16755 | V | 0.1
372 |  |  |  | 16756 | V | 0.1
373 |  |  |  | 16757 | V | 0.1
374 |  |  |  | 16758 | A | 0.1
375 |  |  |  | 16759 | A | 0.1
376 |  |  |  | 16760 | A | 0.1
377 |  |  |  | 16761 | Hz | 0.01
378 |  |  |  | 16762 | Hz | 0.01
379 |  |  |  | 16763 | Hz | 17
380 |  |  |  | 16764 | W | 1
381 |  |  |  | 16765 | V | 0.1
382 |  |  |  | 16766 | V | 0.1
383 |  |  |  | 16767 | degree C | 0.1
384 |  |  |  | 16768 | A | 0.1
385 |  |  |  | 16769 | A | 0.1
386 |  |  |  | 16770 | A | 0.1
387 |  |  |  | 16771 | A | 0.1
388 |  |  |  | 16772 | A | 0.1
389 |  |  |  | 16773 | A | 0.1
390 |  |  |  | 16774 | A | 0.1
391 |  |  |  | 16775 | A | 0.1
392 |  |  |  | 16776 | A | 0.1
393 |  |  |  | 16777 | A | 0.1
394 |  |  |  | 16778 | A | 0.1
395 |  |  |  | 16779 | A | 0.1
396 |  |  |  | 16780 | A | 0.1
397 |  |  |  | 16781 | A | 0.1
398 |  |  |  | 16782 | A | 0.1
399 |  |  |  | 16783 | A | 0.1
400 |  |  |  | 16784 | Hr | 1
401 |  |  |  | 16785 | KW.Hr | 0.1
402 |  |  |  | 16786 | KW.Hr | 0.1
403 | 11号逆变器 | 正福NB301 |  | 16787 | V | 0.1
404 |  |  |  | 16788 | V | 0.1
405 |  |  |  | 16789 | V | 0.1
406 |  |  |  | 16790 | V | 0.1
407 |  |  |  | 16791 | A | 0.1
408 |  |  |  | 16792 | A | 0.1
409 |  |  |  | 16793 | A | 0.1
410 |  |  |  | 16794 | A | 0.1
411 |  |  |  | 16795 | V | 0.1
412 |  |  |  | 16796 | V | 0.1
413 |  |  |  | 16797 | V | 0.1
414 |  |  |  | 16798 | A | 0.1
415 |  |  |  | 16799 | A | 0.1
416 |  |  |  | 16800 | A | 0.1
417 |  |  |  | 16801 | Hz | 0.01
418 |  |  |  | 16802 | Hz | 0.01
419 |  |  |  | 16803 | Hz | 17
420 |  |  |  | 16804 | W | 1
421 |  |  |  | 16805 | V | 0.1
422 |  |  |  | 16806 | V | 0.1
423 |  |  |  | 16807 | degree C | 0.1
424 |  |  |  | 16808 | A | 0.1
425 |  |  |  | 16809 | A | 0.1
426 |  |  |  | 16810 | A | 0.1
427 |  |  |  | 16811 | A | 0.1
428 |  |  |  | 16812 | A | 0.1
429 |  |  |  | 16813 | A | 0.1
430 |  |  |  | 16814 | A | 0.1
431 |  |  |  | 16815 | A | 0.1
432 |  |  |  | 16816 | A | 0.1
433 |  |  |  | 16817 | A | 0.1
434 |  |  |  | 16818 | A | 0.1
435 |  |  |  | 16819 | A | 0.1
436 |  |  |  | 16820 | A | 0.1
437 |  |  |  | 16821 | A | 0.1
438 |  |  |  | 16822 | A | 0.1
439 |  |  |  | 16823 | A | 0.1
440 |  |  |  | 16824 | Hr | 1
441 |  |  |  | 16825 | KW.Hr | 0.1
442 |  |  |  | 16826 | KW.Hr | 0.1
443 | 12号逆变器 | 正美NB403 |  | 16827 | V | 0.1
444 |  |  |  | 16828 | V | 0.1
445 |  |  |  | 16829 | V | 0.1
446 |  |  |  | 16830 | V | 0.1
447 |  |  |  | 16831 | A | 0.1
448 |  |  |  | 16832 | A | 0.1
449 |  |  |  | 16833 | A | 0.1
450 |  |  |  | 16834 | A | 0.1
451 |  |  |  | 16835 | V | 0.1
452 |  |  |  | 16836 | V | 0.1
453 |  |  |  | 16837 | V | 0.1
454 |  |  |  | 16838 | A | 0.1
455 |  |  |  | 16839 | A | 0.1
456 |  |  |  | 16840 | A | 0.1
457 |  |  |  | 16841 | Hz | 0.01
458 |  |  |  | 16842 | Hz | 0.01
459 |  |  |  | 16843 | Hz | 17
460 |  |  |  | 16844 | W | 1
461 |  |  |  | 16845 | V | 0.1
462 |  |  |  | 16846 | V | 0.1
463 |  |  |  | 16847 | degree C | 0.1
464 |  |  |  | 16848 | A | 0.1
465 |  |  |  | 16849 | A | 0.1
466 |  |  |  | 16850 | A | 0.1
467 |  |  |  | 16851 | A | 0.1
468 |  |  |  | 16852 | A | 0.1
469 |  |  |  | 16853 | A | 0.1
470 |  |  |  | 16854 | A | 0.1
471 |  |  |  | 16855 | A | 0.1
472 |  |  |  | 16856 | A | 0.1
473 |  |  |  | 16857 | A | 0.1
474 |  |  |  | 16858 | A | 0.1
475 |  |  |  | 16859 | A | 0.1
476 |  |  |  | 16860 | A | 0.1
477 |  |  |  | 16861 | A | 0.1
478 |  |  |  | 16862 | A | 0.1
479 |  |  |  | 16863 | A | 0.1
480 |  |  |  | 16864 | Hr | 1
481 |  |  |  | 16865 | KW.Hr | 0.1
482 |  |  |  | 16866 | KW.Hr | 0.1
483 | 13号逆变器 | 正美NB401 |  | 16867 | V | 0.1
484 |  |  |  | 16868 | V | 0.1
485 |  |  |  | 16869 | V | 0.1
486 |  |  |  | 16870 | V | 0.1
487 |  |  |  | 16871 | A | 0.1
488 |  |  |  | 16872 | A | 0.1
489 |  |  |  | 16873 | A | 0.1
490 |  |  |  | 16874 | A | 0.1
491 |  |  |  | 16875 | V | 0.1
492 |  |  |  | 16876 | V | 0.1
493 |  |  |  | 16877 | V | 0.1
494 |  |  |  | 16878 | A | 0.1
495 |  |  |  | 16879 | A | 0.1
496 |  |  |  | 16880 | A | 0.1
497 |  |  |  | 16881 | Hz | 0.01
498 |  |  |  | 16882 | Hz | 0.01
499 |  |  |  | 16883 | Hz | 17
500 |  |  |  | 16884 | W | 1
501 |  |  |  | 16885 | V | 0.1
502 |  |  |  | 16886 | V | 0.1
503 |  |  |  | 16887 | degree C | 0.1
504 |  |  |  | 16888 | A | 0.1
505 |  |  |  | 16889 | A | 0.1
506 |  |  |  | 16890 | A | 0.1
507 |  |  |  | 16891 | A | 0.1
508 |  |  |  | 16892 | A | 0.1
509 |  |  |  | 16893 | A | 0.1
510 |  |  |  | 16894 | A | 0.1
511 |  |  |  | 16895 | A | 0.1
512 |  |  |  | 16896 | A | 0.1
513 |  |  |  | 16897 | A | 0.1
514 |  |  |  | 16898 | A | 0.1
515 |  |  |  | 16899 | A | 0.1
516 |  |  |  | 16900 | A | 0.1
517 |  |  |  | 16901 | A | 0.1
518 |  |  |  | 16902 | A | 0.1
519 |  |  |  | 16903 | A | 0.1
520 |  |  |  | 16904 | Hr | 1
521 |  |  |  | 16905 | KW.Hr | 0.1
522 |  |  |  | 16906 | KW.Hr | 0.1
523 | 14号逆变器 | 正福NB201 |  | 16907 | V | 0.1
524 |  |  |  | 16908 | V | 0.1
525 |  |  |  | 16909 | V | 0.1
526 |  |  |  | 16910 | V | 0.1
527 |  |  |  | 16911 | A | 0.1
528 |  |  |  | 16912 | A | 0.1
529 |  |  |  | 16913 | A | 0.1
530 |  |  |  | 16914 | A | 0.1
531 |  |  |  | 16915 | V | 0.1
532 |  |  |  | 16916 | V | 0.1
533 |  |  |  | 16917 | V | 0.1
534 |  |  |  | 16918 | A | 0.1
535 |  |  |  | 16919 | A | 0.1
536 |  |  |  | 16920 | A | 0.1
537 |  |  |  | 16921 | Hz | 0.01
538 |  |  |  | 16922 | Hz | 0.01
539 |  |  |  | 16923 | Hz | 17
540 |  |  |  | 16924 | W | 1
541 |  |  |  | 16925 | V | 0.1
542 |  |  |  | 16926 | V | 0.1
543 |  |  |  | 16927 | degree C | 0.1
544 |  |  |  | 16928 | A | 0.1
545 |  |  |  | 16929 | A | 0.1
546 |  |  |  | 16930 | A | 0.1
547 |  |  |  | 16931 | A | 0.1
548 |  |  |  | 16932 | A | 0.1
549 |  |  |  | 16933 | A | 0.1
550 |  |  |  | 16934 | A | 0.1
551 |  |  |  | 16935 | A | 0.1
552 |  |  |  | 16936 | A | 0.1
553 |  |  |  | 16937 | A | 0.1
554 |  |  |  | 16938 | A | 0.1
555 |  |  |  | 16939 | A | 0.1
556 |  |  |  | 16940 | A | 0.1
557 |  |  |  | 16941 | A | 0.1
558 |  |  |  | 16942 | A | 0.1
559 |  |  |  | 16943 | A | 0.1
560 |  |  |  | 16944 | Hr | 1
561 |  |  |  | 16945 | KW.Hr | 0.1
562 |  |  |  | 16946 | KW.Hr | 0.1
563 | 15号逆变器 | 正福NB103 |  | 16947 | V | 0.1
564 |  |  |  | 16948 | V | 0.1
565 |  |  |  | 16949 | V | 0.1
566 |  |  |  | 16950 | V | 0.1
567 |  |  |  | 16951 | A | 0.1
568 |  |  |  | 16952 | A | 0.1
569 |  |  |  | 16953 | A | 0.1
570 |  |  |  | 16954 | A | 0.1
571 |  |  |  | 16955 | V | 0.1
572 |  |  |  | 16956 | V | 0.1
573 |  |  |  | 16957 | V | 0.1
574 |  |  |  | 16958 | A | 0.1
575 |  |  |  | 16959 | A | 0.1
576 |  |  |  | 16960 | A | 0.1
577 |  |  |  | 16961 | Hz | 0.01
578 |  |  |  | 16962 | Hz | 0.01
579 |  |  |  | 16963 | Hz | 17
580 |  |  |  | 16964 | W | 1
581 |  |  |  | 16965 | V | 0.1
582 |  |  |  | 16966 | V | 0.1
583 |  |  |  | 16967 | degree C | 0.1
584 |  |  |  | 16968 | A | 0.1
585 |  |  |  | 16969 | A | 0.1
586 |  |  |  | 16970 | A | 0.1
587 |  |  |  | 16971 | A | 0.1
588 |  |  |  | 16972 | A | 0.1
589 |  |  |  | 16973 | A | 0.1
590 |  |  |  | 16974 | A | 0.1
591 |  |  |  | 16975 | A | 0.1
592 |  |  |  | 16976 | A | 0.1
593 |  |  |  | 16977 | A | 0.1
594 |  |  |  | 16978 | A | 0.1
595 |  |  |  | 16979 | A | 0.1
596 |  |  |  | 16980 | A | 0.1
597 |  |  |  | 16981 | A | 0.1
598 |  |  |  | 16982 | A | 0.1
599 |  |  |  | 16983 | A | 0.1
600 |  |  |  | 16984 | Hr | 1
601 |  |  |  | 16985 | KW.Hr | 0.1
602 |  |  |  | 16986 | KW.Hr | 0.1
603 | 16号逆变器 | 正福NB102 |  | 16987 | V | 0.1
604 |  |  |  | 16988 | V | 0.1
605 |  |  |  | 16989 | V | 0.1
606 |  |  |  | 16990 | V | 0.1
607 |  |  |  | 16991 | A | 0.1
608 |  |  |  | 16992 | A | 0.1
609 |  |  |  | 16993 | A | 0.1
610 |  |  |  | 16994 | A | 0.1
611 |  |  |  | 16995 | V | 0.1
612 |  |  |  | 16996 | V | 0.1
613 |  |  |  | 16997 | V | 0.1
614 |  |  |  | 16998 | A | 0.1
615 |  |  |  | 16999 | A | 0.1
616 |  |  |  | 17000 | A | 0.1
617 |  |  |  | 17001 | Hz | 0.01
618 |  |  |  | 17002 | Hz | 0.01
619 |  |  |  | 17003 | Hz | 17
620 |  |  |  | 17004 | W | 1
621 |  |  |  | 17005 | V | 0.1
622 |  |  |  | 17006 | V | 0.1
623 |  |  |  | 17007 | degree C | 0.1
624 |  |  |  | 17008 | A | 0.1
625 |  |  |  | 17009 | A | 0.1
626 |  |  |  | 17010 | A | 0.1
627 |  |  |  | 17011 | A | 0.1
628 |  |  |  | 17012 | A | 0.1
629 |  |  |  | 17013 | A | 0.1
630 |  |  |  | 17014 | A | 0.1
631 |  |  |  | 17015 | A | 0.1
632 |  |  |  | 17016 | A | 0.1
633 |  |  |  | 17017 | A | 0.1
634 |  |  |  | 17018 | A | 0.1
635 |  |  |  | 17019 | A | 0.1
636 |  |  |  | 17020 | A | 0.1
637 |  |  |  | 17021 | A | 0.1
638 |  |  |  | 17022 | A | 0.1
639 |  |  |  | 17023 | A | 0.1
640 |  |  |  | 17024 | Hr | 1
641 |  |  |  | 17025 | KW.Hr | 0.1
642 |  |  |  | 17026 | KW.Hr | 0.1
643 | 17号逆变器 | 正福NB101 |  | 17027 | V | 0.1
644 |  |  |  | 17028 | V | 0.1
645 |  |  |  | 17029 | V | 0.1
646 |  |  |  | 17030 | V | 0.1
647 |  |  |  | 17031 | A | 0.1
648 |  |  |  | 17032 | A | 0.1
649 |  |  |  | 17033 | A | 0.1
650 |  |  |  | 17034 | A | 0.1
651 |  |  |  | 17035 | V | 0.1
652 |  |  |  | 17036 | V | 0.1
653 |  |  |  | 17037 | V | 0.1
654 |  |  |  | 17038 | A | 0.1
655 |  |  |  | 17039 | A | 0.1
656 |  |  |  | 17040 | A | 0.1
657 |  |  |  | 17041 | Hz | 0.01
658 |  |  |  | 17042 | Hz | 0.01
659 |  |  |  | 17043 | Hz | 17
660 |  |  |  | 17044 | W | 1
661 |  |  |  | 17045 | V | 0.1
662 |  |  |  | 17046 | V | 0.1
663 |  |  |  | 17047 | degree C | 0.1
664 |  |  |  | 17048 | A | 0.1
665 |  |  |  | 17049 | A | 0.1
666 |  |  |  | 17050 | A | 0.1
667 |  |  |  | 17051 | A | 0.1
668 |  |  |  | 17052 | A | 0.1
669 |  |  |  | 17053 | A | 0.1
670 |  |  |  | 17054 | A | 0.1
671 |  |  |  | 17055 | A | 0.1
672 |  |  |  | 17056 | A | 0.1
673 |  |  |  | 17057 | A | 0.1
674 |  |  |  | 17058 | A | 0.1
675 |  |  |  | 17059 | A | 0.1
676 |  |  |  | 17060 | A | 0.1
677 |  |  |  | 17061 | A | 0.1
678 |  |  |  | 17062 | A | 0.1
679 |  |  |  | 17063 | A | 0.1
680 |  |  |  | 17064 | Hr | 1
681 |  |  |  | 17065 | KW.Hr | 0.1
682 |  |  |  | 17066 | KW.Hr | 0.1
683 | 18号逆变器 | 正福NB203 |  | 17067 | V | 0.1
684 |  |  |  | 17068 | V | 0.1
685 |  |  |  | 17069 | V | 0.1
686 |  |  |  | 17070 | V | 0.1
687 |  |  |  | 17071 | A | 0.1
688 |  |  |  | 17072 | A | 0.1
689 |  |  |  | 17073 | A | 0.1
690 |  |  |  | 17074 | A | 0.1
691 |  |  |  | 17075 | V | 0.1
692 |  |  |  | 17076 | V | 0.1
693 |  |  |  | 17077 | V | 0.1
694 |  |  |  | 17078 | A | 0.1
695 |  |  |  | 17079 | A | 0.1
696 |  |  |  | 17080 | A | 0.1
697 |  |  |  | 17081 | Hz | 0.01
698 |  |  |  | 17082 | Hz | 0.01
699 |  |  |  | 17083 | Hz | 17
700 |  |  |  | 17084 | W | 1
701 |  |  |  | 17085 | V | 0.1
702 |  |  |  | 17086 | V | 0.1
703 |  |  |  | 17087 | degree C | 0.1
704 |  |  |  | 17088 | A | 0.1
705 |  |  |  | 17089 | A | 0.1
706 |  |  |  | 17090 | A | 0.1
707 |  |  |  | 17091 | A | 0.1
708 |  |  |  | 17092 | A | 0.1
709 |  |  |  | 17093 | A | 0.1
710 |  |  |  | 17094 | A | 0.1
711 |  |  |  | 17095 | A | 0.1
712 |  |  |  | 17096 | A | 0.1
713 |  |  |  | 17097 | A | 0.1
714 |  |  |  | 17098 | A | 0.1
715 |  |  |  | 17099 | A | 0.1
716 |  |  |  | 17100 | A | 0.1
717 |  |  |  | 17101 | A | 0.1
718 |  |  |  | 17102 | A | 0.1
719 |  |  |  | 17103 | A | 0.1
720 |  |  |  | 17104 | Hr | 1
721 |  |  |  | 17105 | KW.Hr | 0.1
722 |  |  |  | 17106 | KW.Hr | 0.1
723 | 19号逆变器 | 正福NB204 |  | 17107 | V | 0.1
724 |  |  |  | 17108 | V | 0.1
725 |  |  |  | 17109 | V | 0.1
726 |  |  |  | 17110 | V | 0.1
727 |  |  |  | 17111 | A | 0.1
728 |  |  |  | 17112 | A | 0.1
729 |  |  |  | 17113 | A | 0.1
730 |  |  |  | 17114 | A | 0.1
731 |  |  |  | 17115 | V | 0.1
732 |  |  |  | 17116 | V | 0.1
733 |  |  |  | 17117 | V | 0.1
734 |  |  |  | 17118 | A | 0.1
735 |  |  |  | 17119 | A | 0.1
736 |  |  |  | 17120 | A | 0.1
737 |  |  |  | 17121 | Hz | 0.01
738 |  |  |  | 17122 | Hz | 0.01
739 |  |  |  | 17123 | Hz | 17
740 |  |  |  | 17124 | W | 1
741 |  |  |  | 17125 | V | 0.1
742 |  |  |  | 17126 | V | 0.1
743 |  |  |  | 17127 | degree C | 0.1
744 |  |  |  | 17128 | A | 0.1
745 |  |  |  | 17129 | A | 0.1
746 |  |  |  | 17130 | A | 0.1
747 |  |  |  | 17131 | A | 0.1
748 |  |  |  | 17132 | A | 0.1
749 |  |  |  | 17133 | A | 0.1
750 |  |  |  | 17134 | A | 0.1
751 |  |  |  | 17135 | A | 0.1
752 |  |  |  | 17136 | A | 0.1
753 |  |  |  | 17137 | A | 0.1
754 |  |  |  | 17138 | A | 0.1
755 |  |  |  | 17139 | A | 0.1
756 |  |  |  | 17140 | A | 0.1
757 |  |  |  | 17141 | A | 0.1
758 |  |  |  | 17142 | A | 0.1
759 |  |  |  | 17143 | A | 0.1
760 |  |  |  | 17144 | Hr | 1
761 |  |  |  | 17145 | KW.Hr | 0.1
762 |  |  |  | 17146 | KW.Hr | 0.1
763 | 20号逆变器 | 正美NB203 |  | 17147 | V | 0.1
764 |  |  |  | 17148 | V | 0.1
765 |  |  |  | 17149 | V | 0.1
766 |  |  |  | 17150 | V | 0.1
767 |  |  |  | 17151 | A | 0.1
768 |  |  |  | 17152 | A | 0.1
769 |  |  |  | 17153 | A | 0.1
770 |  |  |  | 17154 | A | 0.1
771 |  |  |  | 17155 | V | 0.1
772 |  |  |  | 17156 | V | 0.1
773 |  |  |  | 17157 | V | 0.1
774 |  |  |  | 17158 | A | 0.1
775 |  |  |  | 17159 | A | 0.1
776 |  |  |  | 17160 | A | 0.1
777 |  |  |  | 17161 | Hz | 0.01
778 |  |  |  | 17162 | Hz | 0.01
779 |  |  |  | 17163 | Hz | 17
780 |  |  |  | 17164 | W | 1
781 |  |  |  | 17165 | V | 0.1
782 |  |  |  | 17166 | V | 0.1
783 |  |  |  | 17167 | degree C | 0.1
784 |  |  |  | 17168 | A | 0.1
785 |  |  |  | 17169 | A | 0.1
786 |  |  |  | 17170 | A | 0.1
787 |  |  |  | 17171 | A | 0.1
788 |  |  |  | 17172 | A | 0.1
789 |  |  |  | 17173 | A | 0.1
790 |  |  |  | 17174 | A | 0.1
791 |  |  |  | 17175 | A | 0.1
792 |  |  |  | 17176 | A | 0.1
793 |  |  |  | 17177 | A | 0.1
794 |  |  |  | 17178 | A | 0.1
795 |  |  |  | 17179 | A | 0.1
796 |  |  |  | 17180 | A | 0.1
797 |  |  |  | 17181 | A | 0.1
798 |  |  |  | 17182 | A | 0.1
799 |  |  |  | 17183 | A | 0.1
800 |  |  |  | 17184 | Hr | 1
801 |  |  |  | 17185 | KW.Hr | 0.1
802 |  |  |  | 17186 | KW.Hr | 0.1
803 | 21号逆变器 | 正美NB102 |  | 17187 | V | 0.1
804 |  |  |  | 17188 | V | 0.1
805 |  |  |  | 17189 | V | 0.1
806 |  |  |  | 17190 | V | 0.1
807 |  |  |  | 17191 | A | 0.1
808 |  |  |  | 17192 | A | 0.1
809 |  |  |  | 17193 | A | 0.1
810 |  |  |  | 17194 | A | 0.1
811 |  |  |  | 17195 | V | 0.1
812 |  |  |  | 17196 | V | 0.1
813 |  |  |  | 17197 | V | 0.1
814 |  |  |  | 17198 | A | 0.1
815 |  |  |  | 17199 | A | 0.1
816 |  |  |  | 17200 | A | 0.1
817 |  |  |  | 17201 | Hz | 0.01
818 |  |  |  | 17202 | Hz | 0.01
819 |  |  |  | 17203 | Hz | 17
820 |  |  |  | 17204 | W | 1
821 |  |  |  | 17205 | V | 0.1
822 |  |  |  | 17206 | V | 0.1
823 |  |  |  | 17207 | degree C | 0.1
824 |  |  |  | 17208 | A | 0.1
825 |  |  |  | 17209 | A | 0.1
826 |  |  |  | 17210 | A | 0.1
827 |  |  |  | 17211 | A | 0.1
828 |  |  |  | 17212 | A | 0.1
829 |  |  |  | 17213 | A | 0.1
830 |  |  |  | 17214 | A | 0.1
831 |  |  |  | 17215 | A | 0.1
832 |  |  |  | 17216 | A | 0.1
833 |  |  |  | 17217 | A | 0.1
834 |  |  |  | 17218 | A | 0.1
835 |  |  |  | 17219 | A | 0.1
836 |  |  |  | 17220 | A | 0.1
837 |  |  |  | 17221 | A | 0.1
838 |  |  |  | 17222 | A | 0.1
839 |  |  |  | 17223 | A | 0.1
840 |  |  |  | 17224 | Hr | 1
841 |  |  |  | 17225 | KW.Hr | 0.1
842 |  |  |  | 17226 | KW.Hr | 0.1
843 | 22号逆变器 | 正美NB103 |  | 17227 | V | 0.1
844 |  |  |  | 17228 | V | 0.1
845 |  |  |  | 17229 | V | 0.1
846 |  |  |  | 17230 | V | 0.1
847 |  |  |  | 17231 | A | 0.1
848 |  |  |  | 17232 | A | 0.1
849 |  |  |  | 17233 | A | 0.1
850 |  |  |  | 17234 | A | 0.1
851 |  |  |  | 17235 | V | 0.1
852 |  |  |  | 17236 | V | 0.1
853 |  |  |  | 17237 | V | 0.1
854 |  |  |  | 17238 | A | 0.1
855 |  |  |  | 17239 | A | 0.1
856 |  |  |  | 17240 | A | 0.1
857 |  |  |  | 17241 | Hz | 0.01
858 |  |  |  | 17242 | Hz | 0.01
859 |  |  |  | 17243 | Hz | 17
860 |  |  |  | 17244 | W | 1
861 |  |  |  | 17245 | V | 0.1
862 |  |  |  | 17246 | V | 0.1
863 |  |  |  | 17247 | degree C | 0.1
864 |  |  |  | 17248 | A | 0.1
865 |  |  |  | 17249 | A | 0.1
866 |  |  |  | 17250 | A | 0.1
867 |  |  |  | 17251 | A | 0.1
868 |  |  |  | 17252 | A | 0.1
869 |  |  |  | 17253 | A | 0.1
870 |  |  |  | 17254 | A | 0.1
871 |  |  |  | 17255 | A | 0.1
872 |  |  |  | 17256 | A | 0.1
873 |  |  |  | 17257 | A | 0.1
874 |  |  |  | 17258 | A | 0.1
875 |  |  |  | 17259 | A | 0.1
876 |  |  |  | 17260 | A | 0.1
877 |  |  |  | 17261 | A | 0.1
878 |  |  |  | 17262 | A | 0.1
879 |  |  |  | 17263 | A | 0.1
880 |  |  |  | 17264 | Hr | 1
881 |  |  |  | 17265 | KW.Hr | 0.1
882 |  |  |  | 17266 | KW.Hr | 0.1
883 | 23号逆变器 | 正美NB101 |  | 17267 | V | 0.1
884 |  |  |  | 17268 | V | 0.1
885 |  |  |  | 17269 | V | 0.1
886 |  |  |  | 17270 | V | 0.1
887 |  |  |  | 17271 | A | 0.1
888 |  |  |  | 17272 | A | 0.1
889 |  |  |  | 17273 | A | 0.1
890 |  |  |  | 17274 | A | 0.1
891 |  |  |  | 17275 | V | 0.1
892 |  |  |  | 17276 | V | 0.1
893 |  |  |  | 17277 | V | 0.1
894 |  |  |  | 17278 | A | 0.1
895 |  |  |  | 17279 | A | 0.1
896 |  |  |  | 17280 | A | 0.1
897 |  |  |  | 17281 | Hz | 0.01
898 |  |  |  | 17282 | Hz | 0.01
899 |  |  |  | 17283 | Hz | 17
900 |  |  |  | 17284 | W | 1
901 |  |  |  | 17285 | V | 0.1
902 |  |  |  | 17286 | V | 0.1
903 |  |  |  | 17287 | degree C | 0.1
904 |  |  |  | 17288 | A | 0.1
905 |  |  |  | 17289 | A | 0.1
906 |  |  |  | 17290 | A | 0.1
907 |  |  |  | 17291 | A | 0.1
908 |  |  |  | 17292 | A | 0.1
909 |  |  |  | 17293 | A | 0.1
910 |  |  |  | 17294 | A | 0.1
911 |  |  |  | 17295 | A | 0.1
912 |  |  |  | 17296 | A | 0.1
913 |  |  |  | 17297 | A | 0.1
914 |  |  |  | 17298 | A | 0.1
915 |  |  |  | 17299 | A | 0.1
916 |  |  |  | 17300 | A | 0.1
917 |  |  |  | 17301 | A | 0.1
918 |  |  |  | 17302 | A | 0.1
919 |  |  |  | 17303 | A | 0.1
920 |  |  |  | 17304 | Hr | 1
921 |  |  |  | 17305 | KW.Hr | 0.1
922 |  |  |  | 17306 | KW.Hr | 0.1
923 | 24号逆变器 | 正美NB202 |  | 17307 | V | 0.1
924 |  |  |  | 17308 | V | 0.1
925 |  |  |  | 17309 | V | 0.1
926 |  |  |  | 17310 | V | 0.1
927 |  |  |  | 17311 | A | 0.1
928 |  |  |  | 17312 | A | 0.1
929 |  |  |  | 17313 | A | 0.1
930 |  |  |  | 17314 | A | 0.1
931 |  |  |  | 17315 | V | 0.1
932 |  |  |  | 17316 | V | 0.1
933 |  |  |  | 17317 | V | 0.1
934 |  |  |  | 17318 | A | 0.1
935 |  |  |  | 17319 | A | 0.1
936 |  |  |  | 17320 | A | 0.1
937 |  |  |  | 17321 | Hz | 0.01
938 |  |  |  | 17322 | Hz | 0.01
939 |  |  |  | 17323 | Hz | 17
940 |  |  |  | 17324 | W | 1
941 |  |  |  | 17325 | V | 0.1
942 |  |  |  | 17326 | V | 0.1
943 |  |  |  | 17327 | degree C | 0.1
944 |  |  |  | 17328 | A | 0.1
945 |  |  |  | 17329 | A | 0.1
946 |  |  |  | 17330 | A | 0.1
947 |  |  |  | 17331 | A | 0.1
948 |  |  |  | 17332 | A | 0.1
949 |  |  |  | 17333 | A | 0.1
950 |  |  |  | 17334 | A | 0.1
951 |  |  |  | 17335 | A | 0.1
952 |  |  |  | 17336 | A | 0.1
953 |  |  |  | 17337 | A | 0.1
954 |  |  |  | 17338 | A | 0.1
955 |  |  |  | 17339 | A | 0.1
956 |  |  |  | 17340 | A | 0.1
957 |  |  |  | 17341 | A | 0.1
958 |  |  |  | 17342 | A | 0.1
959 |  |  |  | 17343 | A | 0.1
960 |  |  |  | 17344 | Hr | 1
961 |  |  |  | 17345 | KW.Hr | 0.1
962 |  |  |  | 17346 | KW.Hr | 0.1
963 | 25号逆变器 | 正美NB201 |  | 17347 | V | 0.1
964 |  |  |  | 17348 | V | 0.1
965 |  |  |  | 17349 | V | 0.1
966 |  |  |  | 17350 | V | 0.1
967 |  |  |  | 17351 | A | 0.1
968 |  |  |  | 17352 | A | 0.1
969 |  |  |  | 17353 | A | 0.1
970 |  |  |  | 17354 | A | 0.1
971 |  |  |  | 17355 | V | 0.1
972 |  |  |  | 17356 | V | 0.1
973 |  |  |  | 17357 | V | 0.1
974 |  |  |  | 17358 | A | 0.1
975 |  |  |  | 17359 | A | 0.1
976 |  |  |  | 17360 | A | 0.1
977 |  |  |  | 17361 | Hz | 0.01
978 |  |  |  | 17362 | Hz | 0.01
979 |  |  |  | 17363 | Hz | 17
980 |  |  |  | 17364 | W | 1
981 |  |  |  | 17365 | V | 0.1
982 |  |  |  | 17366 | V | 0.1
983 |  |  |  | 17367 | degree C | 0.1
984 |  |  |  | 17368 | A | 0.1
985 |  |  |  | 17369 | A | 0.1
986 |  |  |  | 17370 | A | 0.1
987 |  |  |  | 17371 | A | 0.1
988 |  |  |  | 17372 | A | 0.1
989 |  |  |  | 17373 | A | 0.1
990 |  |  |  | 17374 | A | 0.1
991 |  |  |  | 17375 | A | 0.1
992 |  |  |  | 17376 | A | 0.1
993 |  |  |  | 17377 | A | 0.1
994 |  |  |  | 17378 | A | 0.1
995 |  |  |  | 17379 | A | 0.1
996 |  |  |  | 17380 | A | 0.1
997 |  |  |  | 17381 | A | 0.1
998 |  |  |  | 17382 | A | 0.1
999 |  |  |  | 17383 | A | 0.1
1000 |  |  |  | 17384 | Hr | 1
1001 |  |  |  | 17385 | KW.Hr | 0.1
1002 |  |  |  | 17386 | KW.Hr | 0.1
1003 | 26号逆变器 | 正福NB202 |  | 17387 | V | 0.1
1004 |  |  |  | 17388 | V | 0.1
1005 |  |  |  | 17389 | V | 0.1
1006 |  |  |  | 17390 | V | 0.1
1007 |  |  |  | 17391 | A | 0.1
1008 |  |  |  | 17392 | A | 0.1
1009 |  |  |  | 17393 | A | 0.1
1010 |  |  |  | 17394 | A | 0.1
1011 |  |  |  | 17395 | V | 0.1
1012 |  |  |  | 17396 | V | 0.1
1013 |  |  |  | 17397 | V | 0.1
1014 |  |  |  | 17398 | A | 0.1
1015 |  |  |  | 17399 | A | 0.1
1016 |  |  |  | 17400 | A | 0.1
1017 |  |  |  | 17401 | Hz | 0.01
1018 |  |  |  | 17402 | Hz | 0.01
1019 |  |  |  | 17403 | Hz | 17
1020 |  |  |  | 17404 | W | 1
1021 |  |  |  | 17405 | V | 0.1
1022 |  |  |  | 17406 | V | 0.1
1023 |  |  |  | 17407 | degree C | 0.1
1024 |  |  |  | 17408 | A | 0.1
1025 |  |  |  | 17409 | A | 0.1
1026 |  |  |  | 17410 | A | 0.1
1027 |  |  |  | 17411 | A | 0.1
1028 |  |  |  | 17412 | A | 0.1
1029 |  |  |  | 17413 | A | 0.1
1030 |  |  |  | 17414 | A | 0.1
1031 |  |  |  | 17415 | A | 0.1
1032 |  |  |  | 17416 | A | 0.1
1033 |  |  |  | 17417 | A | 0.1
1034 |  |  |  | 17418 | A | 0.1
1035 |  |  |  | 17419 | A | 0.1
1036 |  |  |  | 17420 | A | 0.1
1037 |  |  |  | 17421 | A | 0.1
1038 |  |  |  | 17422 | A | 0.1
1039 |  |  |  | 17423 | A | 0.1
1040 |  |  |  | 17424 | Hr | 1
1041 |  |  |  | 17425 | KW.Hr | 0.1
1042 |  |  |  | 17426 | KW.Hr | 0.1
3 | 1号逆变器 | 正美NB302 |  | 16387 | V | 0.1
4 |  |  |  | 16388 | V | 0.1
5 |  |  |  | 16389 | V | 0.1
6 |  |  |  | 16390 | V | 0.1
7 |  |  |  | 16391 | A | 0.1
8 |  |  |  | 16392 | A | 0.1
9 |  |  |  | 16393 | A | 0.1
10 |  |  |  | 16394 | A | 0.1
11 |  |  |  | 16395 | V | 0.1
12 |  |  |  | 16396 | V | 0.1
13 |  |  |  | 16397 | V | 0.1
14 |  |  |  | 16398 | A | 0.1
15 |  |  |  | 16399 | A | 0.1
16 |  |  |  | 16400 | A | 0.1
17 |  |  |  | 16401 | Hz | 0.01
18 |  |  |  | 16402 | Hz | 0.01
19 |  |  |  | 16403 | Hz | 17
20 |  |  |  | 16404 | W | 1
21 |  |  |  | 16405 | V | 0.1
22 |  |  |  | 16406 | V | 0.1
23 |  |  |  | 16407 | degree C | 0.1
24 |  |  |  | 16408 | A | 0.1
25 |  |  |  | 16409 | A | 0.1
26 |  |  |  | 16410 | A | 0.1
27 |  |  |  | 16411 | A | 0.1
28 |  |  |  | 16412 | A | 0.1
29 |  |  |  | 16413 | A | 0.1
30 |  |  |  | 16414 | A | 0.1
31 |  |  |  | 16415 | A | 0.1
32 |  |  |  | 16416 | A | 0.1
33 |  |  |  | 16417 | A | 0.1
34 |  |  |  | 16418 | A | 0.1
35 |  |  |  | 16419 | A | 0.1
36 |  |  |  | 16420 | A | 0.1
37 |  |  |  | 16421 | A | 0.1
38 |  |  |  | 16422 | A | 0.1
39 |  |  |  | 16423 | A | 0.1
40 |  |  |  | 16424 | Hr | 1
41 |  |  |  | 16425 | KW.Hr | 0.1
42 |  |  |  | 16426 | KW.Hr | 0.1